## Slide 1
ProfinetDataSource
DataSourceI
ICyclicNotifiable
ITimerEntryPoint
IMainThreadEntryPoint
IProfinetEventNotifiable
ISynchronisableInput
ISynchronisableOutput
IOperationalSignalsEntryPoint
ProfinetDataSourceAdapter
ILoggerAdapter
MemoryMap
SynchNMutex
InputBroker
MemoryMap
SynchNMutex
OutputBroker

## Slide 2
ProfinetDataSourceAdapter
RT-LABS
P-NET Library
ITimerEntryPoint
IMainThreadEntryPoint
ProfinetDataSource
ProfinetMainThreadHelper
ProfinetTimerHelper
Calls cyclically TimerTick() on the DataSource.
The call triggers the Timer event which is handled to
achieve Profinet cyclic data exchange.
The TimerTick is the only event generated from the DataSource side.
The MainThread keeps the event flag and awaits for various Profinet events to be raised. Once an event is available, the MainThread calls the corresponding function on the ProfinetDataSource.
When the MainThread returns worked flags, the helper clears them from the global event and awaits another event to be raised. Operational Signals
interface transfers the direct LED/Ready Profinet signals to the DataSource.
IProfinetEventNotifiable
Events raising from the library are routed to the DataSource first and to the MainThreadHelper next.
Cyclics and more generic event handling result in bi-directional calls between adapter and underlying library. The DataSource uses directly the adapter to handle everything.
MainThread and Timer helpers are both EmbeddedServiceMethodBinderT<T> implementations.
IOperationalSignalsEntryPoint

## Slide 3
Memory
Bank
ProfinetDataSourceAdapter
RT-LABS
P-NET Library
Slot1
SlotN
Subslot1
SubslotN
Subslot1
SubslotN
ProfinetDataSource
Profinet sees its bank half splitted in slots/subslots. Each subslot is configured as an offset from the bank start. The Profinet side half is located at offset 0 of the whole bank.
Profinet is agnostic on the transported data representation, data is moved in subslot units.
Memory for input (same for outputs) is allocated in a single contiguous heap block twice as big, referred to as «bank».
Same memory bank has two «perspectives» on it, to allow Profinet and MARTe access.
MARTe signals are located in the same bank, shifted. Signal coordinates are expressed as subslot and offset from the subslot start.
Subslot can be seen as a further signal container, from the MARTe point of view.
The MARTe side half is located just after the Profinet half.
Only MARTe knows the real data representation.
Signal1
SignalN
Signal1
SignalN
Signal1
SignalN
Signal1
SignalN
LED
Three additional signals are placed at the output heap end. They are directly driven by their corresponding events raising from the adapter. (Alarm is greyed as currently not implemented).
READY
ALARM
ALARM ACK
The alarm acknowledge input is placed at the input heap end. It drives directly the adapter to trigger the alarm acknowledgement processing chain. (Greyed as currently not implemented)
MARTe2 side
Profinet side
MARTe2 side start =
Profinet side start + half bank size
Two buffers guarantee independence and race avoidance.

## Slide 4
ProfinetDataSourceAdapter
Underlying levels chain
ProfinetDataSource
MemoryMapSynchNMutex
[Input,Output]Broker
Cyclic event triggers I/O update with NotifyCycle()
Bank is Fast Locked, Profinet side can wait
Mutex is taken and released in the same call
Cycle time
Cycle time
MARTe must keep RT performance. Only TryLock() is attempted. Stale data if TryLock() returns false. Broker needs to release mutex. Only a successful Lock/Release result in data update.
TryLock triggered by Synchonise[Input,Output]
UnLock triggered by Terminate[Input,Output]Copy

## Slide 5
Class = ProfinetDataSource
//The network interface which will be dedicated to Profinet communication
//P-NET library will automatically run a script called set_network parameters which will
//1. initially reset the IP address
//2. do a DHCP request to the Profinet Master
//3. Acquire the DHCP offer and set offered address to interface
//Ensure the user has the right permission to run commands inside set_network_parameters script (essentially ip / ipconfig command)
NetworkInterface = "enp0s9"
//Profinet station name, which must match the key DNS_CompatibleName="rt-labs-dev« of the //ApplicationProcess/DeviceAccessPointList/DeviceAccessPointItem GSDML item
StationName = "rt-labs-dev"
//Profinet periodic interval specifying cyclic requests, expressed in microseconds. Should be set according to Profinet master expectancy //and GSDML ApplicationProcess/DeviceAccessPointList/MinDeviceInterval item (which is instead expressed in 1/32 ms)
//Essentially, the master expects a cyclic update and times out after the watchdog expires.
PeriodicInterval = 10000
//To avoid copying and updating data every cycle (which can be very strict), the slave can be kept online without updating the I/O image.
//This parameter sets how many cycles must pass before updating the whole process image (e.g. 1 means 1:1,100 means 1 update every //100 scan cycles)
ReductionRatio = 100
MARTe2 Configuration file – Section 1, Base configuration

## Slide 6
//Vendor identification and manufacturer data, which must match the controller GSDML specified ones
//Greyed items can be customized, as they are not inside the GSDML specs / are not needed to match
VendorIdentifier = 0xFEED
DeviceIdentifier = 0xBEEF
OEMVendorIdentifier = 0xC0FF
OEMDeviceIdentifier = 0xEE01
DeviceVendor = "rt-labs"
ManufacturerSpecificString = "PNET demo"
MARTe2 Configuration file – Section 2, Base identification
[…]
<DeviceIdentity VendorID="0xfeed" DeviceID="0xbeef">
<InfoText TextId="IDT_INFO_Device"/>
<VendorName Value="rt-labs"/>
</DeviceIdentity>
[…]

## Slide 7
//I&M Data, which can be user-customized
IMVendor = 0xFEED
IMHardwareRevision = 1
//Can be only [‘V’, ‘R’, ‘P’, ‘U,’ ‘T’]
IMSoftwareRevision = 'V'
IMFunctionalEnhancement = 1
IMBugFix = 0
IMInternalChange = 0
IMProfileIdentifier = 0x1234
IMProfileSpecificType = 0x5678
IMVersionMajor = 0
IMVersionMinor = 0
//Truncated to 31 characters
IMFunction = ""
//Truncated to 21 characters
IMLocation = ""
//Truncated to 15 characters
IMDate = ""
//Truncated to 54 characters
IMDescriptor = ""
//Truncated to 53 characters
IMSignature = ""
MARTe2 Configuration file – Section 3, I&M Data
Identification and Maintenance data (I&M) allow access to data blocks for PROFINET device. I&M can be read using acyclic read/write record requests. Device name, location, maintenance information for this device can be stored in each device. Usually written with a programming/engineering tool or via read/write record requests under the control application.
P-NET, as currently, only supports I&M 1-4, see below exposed parameters.
Note that given strings are automatically truncated to the maximum supported lengths (maximum length is mandated by the RTLABS PNET library, see relevant pnet structures).

## Slide 8
//LLDP Port identifier
LLDPPortIdentifier = "port-001«
//Leave them at 0
RTClass2Status = 0
RTClass3Status = 0
//Autonegotiation configuration
//bit 0 – Autonegotiation supported
//bit 1 – Autonegotiation enabled
AutoNegotiationCapability = 0x03
//Autonegotiation ssupported speed (not exhaustive, can be combined)
//1000BaseT Full duplex (1ul << 0)
//1000BaseT Half Duplex (1ul << 1)
//1000BaseX Full Duplex (1ul << 2)
//1000BaseX Half Duplex (1ul << 3)
//100BaseTX Full Duplex (1ul << 10)
//100BaseTX Half Duplex (1ul << 11)
//10BaseT Full Duplex (1ul << 13)
//10BaseT Half Duplex (1ul << 14)
//Unknown autonegotiation (1ul << 15)
AutoNegotiationSpeed = 0x0010
//Medium Attachment Unit (MAU) types, not exhaustive
//Radio 0x0000
//Copper 10BaseT 0x0005
//Copper 100BaseTX Half Duplex 0x000F
//100BaseTX Full Duplex 0x0010
//1000BaseT Half Duplex 0x001D
//1000BaseT Full Duplex 0x001E
//100BaseFX Half Duplex 0x0011
//100BaseFX Full Duplex 0x0012
//FIBER 1000BaseX Half Duplex 0x0015
//1000BaseX Full Duplex 0x0016
MAUType = 0x00
MARTe2 Configuration file – Section 4, Network specifics

## Slide 9
+MainThreadHelper = {
Class = ProfinetMainThreadHelper
Timeout = 1000
CPUMask = 0xFF
}
+TimerHelper = {
Class = ProfinetTimerHelper
Timeout = 1000
CPUMask = 0xFF
}
MARTe2 Configuration file – Section 5, MainThread and Timer helpers
Aforementioned MainThread and Timer helper are EmbeddedServiceMethodBinderT<T> service implementations .
They can be configured to be executed on specific CPU masks and with specific timeouts.

## Slide 10
Slot 0
(Always present)
Also known as DAP
(Device Access Point)
Slot 1
Slot N
[…]
Subslot 0
[…]
Subslot N
Subslot 0
[…]
Subslot N
Subslot 0
[…]
Subslot N
Module ident
Submodule ident
Module ident
Submodule ident
Module ident
Submodule ident
Must match the <DeviceAccessPointItem>
Must match the <VirtualSubmoduleItem>
Must match the <VirtualSubmoduleItem>

## Slide 11
MARTe2 Configuration file – Section 6, Slots/Subslots layout
Slots = {
Slot0 = {
SlotNumber = 0
Subslots = {
Subslot1 = {
SubslotNumber = 1
DeviceAccessPoint = 1
ExpectedDataDirection = 1
ExpectedInputSize = 0
ExpectedOutputSize = 0
}
}
}
Slots section matches the device slot profile
Each slots is identified by the SlotNumber attribute and contains 1:N Subslots
Each subslots is identified by the SubslotNumber attribute. The subslot is the effective container for the module data.
The DeviceAccessPoint attribute must be 1 if referring to a DAP..
ExpectedDataDirection can be
0 - No Input Output
1 - Input Only
2 - Output Only
3 - Combined Input/Output
ExpectedInputSize and ExpectedOutputSize (both expressed in byte) represent the size of the input and output and must be set accordingly to GSDML file.
Means that MARTe2 expects specified input/output/direction for the data in the slot. When the plugging process happens, after the connection, the Profinet Master sends the GSDML + Engineering tool obtained configuration. At that point, a matching between expected and configured is done, to confirm the correct configuration.

## Slide 12
MARTe2 Configuration file – Section 7, MARTe2 Signal layout
InputInt32A = {
Type = int32
NumberOfElements = 1
NumberOfDimensions = 0
Slot = 2
Subslot = 1
Offset = 5
Direction = 0
NeedsSwapping = 1
}
<IOData>
<Input Consistency="All items consistency">
<DataItem DataType="Integer32" TextId="TOK_Input_DataItem_Int32"/>
Usually Profinet variables (field variables) are single typed values, NoE and NoD can stay 1/0
The MARTe2 signal is «contained» into a Profinet Slot/Subslot after a byte Offset
The direction of the signal (MARTe2 point-of-view)
0 – Input
1 - Output
Profinet uses Big Endian byte ordering while MARTe2 can be run on MultiArch which can be BE or LE. Always enable, unless downstream GAM knows how to handle the BE binary blob.
Only 2, 4 and 8 byte size types are affected.
Uses internal MARTe2 To/From BigEndian, so in BE archs simply does nothing. In LE archs, standard byte swapping occurs (see MARTe2 Endianity.h)
GSDML Side

## Slide 13
ProfinetDeviceLed = {
Type = uint8
NumberOfElements = 1
NumberOfDimensions = 0
}
ProfinetDeviceReady = {
Type = uint8
NumberOfElements = 1
NumberOfDimensions = 0
}
MARTe2 Configuration file – Section 8, LED and Ready signal
Two ancillary signals are available: LED and Ready. They give indications about the Profinet status.
Profinet LED output signal. Can be 0 – 1. Can be controlled from the Profinet Master or Engineering tool.
MARTe startup has different timings from Profinet. Profinet may not be ready (or become no longer ready during operations) while MARTe2 is running.
When the signal is high (1) the Profinet stack is running and updating the I/O bank. When low, instead:
Profinet is in the early connection setup stages;
Profinet became no longer available due to connection problems (timeouts, network errors).
While the library always tries to re-establish the connection (with the ready signal consequentially going from 0 -> 1), signals may represent stale (old) values.
Ready signal gives an indication about the connection status. Downstream GAMs can implement preferred logic to account for signal unavailability.